## Bid Tabulation - ADD 2
| Project #: | BID NO: S-14-21
| Project Name: | CAPITOL BASIN 26TH STREET INTERCEPTOR STORM SEWER EXTENSION PROJECT ITEMIZED BID SHEET (ADDENDUM TWO)
| Schedule A-Common Bid items (Prorated to other Schedules) | $
| Schedule B-City improvements | $
| Schedule C- State Storm Sewer Improvements | $
| Schedule D-BOPU Water Improvements | $
| Schedule E-BOPU Sewer Improvements | $
| Total | $
Name:
Company:
Bidder Signature:
Addendum Acknowledgement: No. 1 & No. 2
Schedule A | Common Bid items (Prorated to other Schedules By Owner)
Pg. 1
Item No. | Item | Total Est. Qty. | Unit | Unit Price | Total
1020 | Bonds & Insurance | 1 | LS
1020.01 | Quality Control & Material Testing | 1 | LS
1030 | Mobilization | 1 | LS
1035 | Force Account | 1 | FA | 300000 | 300000
1041 | Construction Surveying | 1 | LS
1050 | Flagging / Crossing Guard as Necessary | 500 | HR
1050 | Traffic Control | 1 | LS
1050 | Traffic Control Modifications, As-Needed | 1 | TCFA | 5000 | 5000
1563 | Erosion Control and Stormwater Management | 1 | LS
1600 | HASP Preparation | 1 | LS
1600 | Soil Sampling & Analytical Testing | 1 | LS
1600 | Non-Hazardous Soil Disposal | 100 | TON
1600 | RCRA Hazardous Soil Disposal (55 gal Drum) | 75 | EA
1600 | On-Site Aqueous Waste Treatment & Disposal (air stripper - per day) | 90 | EA
2206 | Investigative Excavation\ Potholing | 15 | EA
Schedule A - Common Bid items (Prorated to other Schedules)
Schedule B | City Improvements
Pg. 1
Item No. | Item | Total Est. Qty. | Unit | Unit Price | Total
2050 | Removal of Structures and Obstructions (Landscape, Trees, Existing Utility Pipes, Structures etc.) | 1 | LS
2075 | Remove & Reset Signs | 38 | EA
2210.01 | Unclassified Excavation Above Subgrade (Removals) | 10500 | SY
2210.02 | Unclassified Excavation Below Subgrade (Roadway Soft Spot Corrections) | 600 | CY
2231 | Crushed Base, Grading W 4" | 4300 | SY
2231 | Crushed Base, Grading W 6" | 3155 | SY
2231 | Trench Import Backfill | 312 | CY
2235 | Pozzolan Treated Subgrade 12" | 4555 | SY
2512 | Plant Mix Bit. Pvmt Type II, Grading A, 2" PG64-28 | 3055 | SY
2512 | Plant Mix Bit. Pvmt.,Type II, Grading C, 2" PG64-28 | 3055 | SY
2665 | Water Main, 8-inch PVC | 98 | LF
2665 | Water Main Fittings, 8" Bends (DIP) | 16 | EA
2665 | Water Main Fittings, 12" Bends (DIP) | 12 | EA
2665 | Water Main Lowerings 18" DIP Casing | 40 | LF
2665 | Water Main Lowerings 18" PVC Casing | 32 | LF
2665 | Tap Replacement 3/4" Insulated | 2 | EA
2665 | Tap Replacement 1" Insulated | 1 | EA
2700 | Sanitary Main Cut-Off Walls | 4 | EA
2700 | Sewer Main, 8-lnch PVC, SDR-35 | 197 | LF
2700 | Sewer Main, 10-Inch PVC, SDR-35 | 200 | LF
2700 | Sewer Main, 12-lnch PVC, SDR-35 | 100 | LF
2700 | Sewer Manhole, 48-lnch Dia | 5 | EA
2700 | Sewer Non-Shear Fernco - 8" | 2 | EA
2700 | Sewer Non-Shear Fernco - 12" | 2 | EA
2700 | Sanitary Sewer Bypass Pumping | 1 | LS
2700 | Sewer Service Reconnect | 1 | EA
2805 | Signage - New w/ Post | 30 | SF
2805 | Monument Light Pole Repair Investigation @ Randall Ave / Carey / 26th | 1 | LS | 3500 | 3500
2900 | Irrigation System Modifications\ Repair | 1 | IFA | 7500 | 7500
2900 | Landscaping (Site Restoration) | 1 | LFA | 10000 | 10000
2900 | Certified Arborist Tree Pruning | 80 | HR
3330 | Slurry | 80 | CY
3330 | Curb and Gutter, 30-inch, type A | 2880 | LF
3340 | Concrete Valley Pan, 8" | 80 | SY
3340 | Curb Turn Fillets, R15 | 12 | EA
3340 | Curb Turn Fillets, R20-25 | 1 | EA
3340 | Detectable Warning Plates (2' x 5') | 47 | EA
3340 | New Concrete Sidewalk, 4" | 575 | SY
3340 | New Decorative (Stamped/Colored) Concrete 4" | 656 | SF
3340 | New Concrete ADA Ramps, 4" | 200 | SY
3340 | Remove & Reset Landscape Pavers | 610 | SF
3340 | New Drive Approach, 6" Residential | 95 | SY
3340 | New Drive Approach, 8" Commercial | 70 | SY
Schedule B - City Improvements Subtotal
Schedule C | State Storm Sewer Improvements
Pg.1
Item No. | Item | Total Est. Qty. | Unit | Unit Price | Total
2051 | Abandoned Pipe Systems (Pipe Plugs & Fill - Storm Sewer) | 20 | EA
2231 | Crushed Base, Grading W 6" | 3350 | SY
2231 | Trench Import Backfill | 450 | CY
2235 | Pozzolan Treated Subgrade 12" | 4845 | SY
2512 | Plant Mix Bit. Pvmt Type II, Grading A, 2" PG64-28 | 3245 | SY
2512 | Plant Mix Bit. Pvmt.,Type II, Grading C, 2" PG64-28 | 3245 | SY
2665 | Tap Replacement 3/4" Re-Route | 4 | EA
2665 | Tap - New 2" (State Lot) | 1 | EA
2725 | Storm Sewer Concrete Cut Off Walls | 2 | EA
2725 | Storm Sewer Manhole, 48- Inch Dia | 4 | EA
2725 | Storm Sewer Manhole, 60-lnch Dia | 8 | EA
2725 | Storm Sewer Manhole, 72-lnch Dia | 1 | EA
2725 | Storm Sewer Manhole, 84-Inch Dia | 2 | EA
2725 | Storm Sewer Conflict Box 1 (6'0" x 7'2") | 1 | EA
2725 | Storm Sewer Conflict Box 2 (10'0" x 7'2") | 1 | EA
2725 | Storm Drain Inlet, Type A (With Slurry Backfill) | 9 | EA
2725 | Storm Drain Inlet, Type AA (With Slurry Backfill) | 4 | EA
2725 | Storm Drain Inlet, Type AAA (With Slurry Backfill) | 3 | EA
2725 | Storm Drain Inlet, Type R (With Slurry Backfill) | 2 | EA
2725 | Storm Pipe, RCP, 30" | 60 | LF
2725 | Storm Pipe, RCP, 36" | 380 | LF
2725 | Storm Pipe, RCP, 54" | 930 | LF
2725 | Storm Pipe, PVC C900, 6" | 30 | LF
2725 | Storm Pipe, PVC C900, 18" | 430 | LF
2725 | Storm Pipe, PVC C900, 24" | 200 | LF
3330 | Curb and Gutter, 30-inch, type A | 720 | LF
3340 | Concrete Pavement, 8" (Carey Ave - Central Ave) | 2300 | SY
Schedule C - State Storm Sewer Improvements Subtotal
Schedule D | BOPU Water Improvements
Pg. 1
Item No. | Item | Total Est. Qty. | Unit | Unit Price | Total
2051 | Abandoned Pipe Systems (Pipe Plugs & Fill - Water & Sewer) | 15 | EA
2231 | Trench Import Backfill | 150 | CY
2665 | Water Main Trench Cut-Off Walls | 5 | EA
2645 | Fire Hydrant Assembly | 3 | EA
2645 | Fire Hydrant Lead Only (Swivel Tee, Valve, Pipe, Test Station) | 1 | EA
2665 | Water Main, 4-inch PVC | 20 | LF
2665 | Water Main, 6-inch PVC | 20 | LF
2665 | Water Main, 8-inch PVC | 182 | LF
2665 | Water Main,12-inch PVC | 1960 | LF
2665 | Water Main Fittings, 4" Duo Sleeve | 4 | EA
2665 | Water Main Fittings, 6" Duo Sleeve | 2 | EA
2665 | Water Main Fittings, 8" x 4" reducer (DIP) | 4 | EA
2665 | Water Main Fittings, 8" x 6" reducer (DIP) | 2 | EA
2665 | Water Main Fittings, 12" x 8" Cross (DIP) | 2 | EA
2665 | Water Main Fittings, 12" x12"x8" Tee (DIP) | 2 | EA
2665 | Water Main Fittings, 12" Tee (DIP) | 1 | EA
2665 | Water Main Fittings, 12" Oversized Sleeve | 2 | EA
2665 | Restraint Block | 9 | EA
2665 | Gate Valves, 4" | 4 | EA
2665 | Gate Valves, 6" | 2 | EA
2665 | Gate Valves, 12" | 8 | EA
2665 | Tap Replacement 3/4" Common | 16 | EA
2665 | Temporary Water Service | 1 | LS
3330 | Slurry | 40 | CY
Schedule D - BOPU Water Improvements Subtotal
Schedule E | BOPU Sewer Improvements
Pg. 1
Item No. | Item | Total Est. Qty. | Unit | Unit Price | Total
2700 | Sewer Main, 8-lnch PVC, SDR-35 | 323 | LF
2700 | Sewer Manhole, 48-lnch Dia | 1 | EA
2700 | Sewer Service Reconnect | 2 | EA
Schedule E - BOPU Sewer Improvements Subtotal